## BOQ
Kestrel Sample Project - Bill of Quantities (NRM2)
Generated by Kestrel · 27/07/2026
Item Code | Description | Quantity | Unit | Rate (£) | Total (£)
9 · MAIN CONTRACTOR'S PRELIMINARIES
9.1 · Employer's requirements
PRE-01 | Site accommodation; meeting room facility within site offices; for the duration of the works | 1 | item | 2500 | 2500
PRE-02 | O&M manuals, as built drawings and building manual; two hard copies and electronic copy | 1 | item | 1500 | 1500
| Subtotal · 9.1 Employer's requirements |  |  |  | 0
9.2 · Main contractor's cost items
PRE-03 | Management and staff; full time site manager and visiting contracts manager; 26 week programme | 1 | item | 36000 | 36000
PRE-04 | Site establishment; offices, welfare and stores; delivery, hire and removal | 1 | item | 9500 | 9500
PRE-05 | Temporary services; electricity, water and drainage; connections and consumption | 1 | item | 4200 | 4200
PRE-06 | Hoarding and site security; 2.4m high timber hoarding to street frontage; including gates, lighting and alarm | 1 | item | 5500 | 5500
PRE-07 | Access scaffolding; independent scaffold to new build elevations; hire for the duration | 1 | item | 8500 | 8500
PRE-08 | Mechanical plant; telehandler and small plant and tools; for the duration of the works | 1 | item | 6500 | 6500
PRE-09 | Cranage; mobile crane visits for steel erection and bathroom pod installation | 1 | item | 6000 | 6000
PRE-10 | Safety, health and environmental protection; PPE, signage, first aid and fire point provision | 1 | item | 2600 | 2600
PRE-11 | Waste management; skips, segregation and licensed disposal | 1 | item | 5500 | 5500
PRE-12 | Setting out and site records; engineer and instruments; including progress photographs | 1 | item | 2200 | 2200
PRE-13 | Final builders clean; including sparkle clean at completion | 1 | item | 2000 | 2000
PRE-14 | Insurances, performance bond and collateral warranties | 1 | item | 5500 | 5500
PRE-15 | Fees and charges; highways licences for hoarding, skips and crane operations | 1 | item | 1800 | 1800
| Subtotal · 9.2 Main contractor's cost items |  |  |  | 0
| Group subtotal · 9 · MAIN CONTRACTOR'S PRELIMINARIES |  |  |  | 0
0 · FACILITATING WORKS
0.1 · Toxic/hazardous/contaminated material treatment
HAZ-01 | Remove asbestos insulation board to plant room ceiling; licensed contractor; including air monitoring, four stage clearance and hazardous waste consignment notes | 1 | item | 4000 | 4000
| Subtotal · 0.1 Toxic/hazardous/contaminated material treatment |  |  |  | 0
0.2 · Major demolition works
DEM-01 | Demolish existing single storey rear annexe; approximately 8m x 7m on plan; grub up foundations; cart away | 1 | item | 8500 | 8500
| Subtotal · 0.2 Major demolition works |  |  |  | 0
0.3 · Temporary support for adjacent structures
TWS-01 | Temporary propping to party wall during demolition; design, install and remove on completion | 1 | item | 3200 | 3200
| Subtotal · 0.3 Temporary support for adjacent structures |  |  |  | 0
0.4 · Specialist groundworks
SGW-01 | Interlocking steel sheet piling to excavation perimeter; driven from existing ground level; maximum length 4.0m; extracted on completion | 96 | m² | 125 | 12000
| Subtotal · 0.4 Specialist groundworks |  |  |  | 0
0.5 · Temporary diversion works
TDW-01 | Temporary diversion of existing surface water drain; including reinstatement | 1 | item | 1850 | 1850
| Subtotal · 0.5 Temporary diversion works |  |  |  | 0
0.6 · Extraordinary site investigation works
ESI-01 | Trial pits to locate uncharted services; hand dug around live services; maximum depth 1.5m; including reinstatement | 3 | nr | 420 | 1260
| Subtotal · 0.6 Extraordinary site investigation works |  |  |  | 0
| Group subtotal · 0 · FACILITATING WORKS |  |  |  | 0
1 · SUBSTRUCTURE
1.1 · Substructure
GRD-01 | Excavate to reduce levels; average 450mm deep; dispose off site | 86 | m³ | 38 | 3268
GRD-02 | Reinforced concrete raft foundation; 300mm thick; C32/40; including A393 mesh reinforcement, edge formwork and power floated finish | 120 | m² | 140 | 16800
| Subtotal · 1.1 Substructure |  |  |  | 0
| Group subtotal · 1 · SUBSTRUCTURE |  |  |  | 0
2 · SUPERSTRUCTURE
2.1 · Frame
STL-01 | Structural steel frame; grade S355; columns and beams; fabricated and erected; including connections and intumescent fire protection to achieve 60 minutes | 12.4 | t | 3200 | 39680
| Subtotal · 2.1 Frame |  |  |  | 0
2.2 · Upper floors
UPF-01 | Composite floor slab; profiled galvanised steel decking; 130mm overall thickness concrete; including anti-crack mesh, edge trims and shear studs | 118 | m² | 74 | 8732
| Subtotal · 2.2 Upper floors |  |  |  | 0
2.3 · Roof
RF-01 | Single ply membrane roof covering; mechanically fixed; vapour control layer; 120mm PIR insulation laid to falls; including upstands and trims | 126 | m² | 88 | 11088
| Subtotal · 2.3 Roof |  |  |  | 0
2.4 · Stairs and ramps
ST-01 | Precast concrete staircase; ground to first floor; two flights and half landing; including mild steel balustrade and handrail | 1 | nr | 7500 | 7500
| Subtotal · 2.4 Stairs and ramps |  |  |  | 0
2.5 · External walls
EXW-01 | Cavity wall; 102.5mm facing brickwork, pointed as work proceeds; 100mm cavity with full fill mineral wool insulation; 100mm blockwork inner leaf; including stainless steel wall ties | 145 | m² | 142 | 20590
| Subtotal · 2.5 External walls |  |  |  | 0
2.6 · Windows and external doors
WIN-01 | Aluminium window; double glazed; polyester powder coated; 1200 x 1500mm; including cills and closers | 14 | nr | 1100 | 15400
| Subtotal · 2.6 Windows and external doors |  |  |  | 0
2.7 · Internal walls and partitions
PTN-01 | Metal stud partition; 2.70m high; 75mm studs at 600mm centres; one layer 12.5mm plasterboard each side; taped and jointed | 15.5 | m | 130 | 2015
PTN-02 | Metal stud partition; as PTN-01 but with 50mm acoustic insulation quilt | 6.7 | m | 150 | 1005
| Subtotal · 2.7 Internal walls and partitions |  |  |  | 0
2.8 · Internal doors
DR-01 | Single leaf doorset; FD30S; 826 x 2040mm leaf; including frame, intumescent and smoke seals, self closer and ironmongery | 2 | nr | 465 | 930
DR-02 | Single leaf doorset; non fire rated; 826 x 2040mm leaf; including frame and ironmongery | 2 | nr | 385 | 770
| Subtotal · 2.8 Internal doors |  |  |  | 0
| Group subtotal · 2 · SUPERSTRUCTURE |  |  |  | 0
3 · INTERNAL FINISHES
3.1 · Wall finishes
DEC-01 | Emulsion paint; one mist and two full coats; to new plasterboard walls | 84 | m² | 6.5 | 546
SKT-01 | Skirting; MDF; 18 x 119mm; primed and painted | 34 | m | 9.5 | 323
WT-01 | Ceramic wall tiling; 300 x 600mm; adhesive fixed; including grout and trims | 14 | m² | 68 | 952
| Subtotal · 3.1 Wall finishes |  |  |  | 0
3.2 · Floor finishes
FLR-01 | Carpet tiles; heavy contract grade; laid on existing screed | 38 | m² | 24 | 912
FLR-02 | Luxury vinyl tile; slip resistant; including subfloor preparation | 9 | m² | 42 | 378
| Subtotal · 3.2 Floor finishes |  |  |  | 0
3.3 · Ceiling finishes
CLG-01 | Suspended ceiling; mineral fibre tiles; 600 x 600mm exposed grid; depth of suspension 150 to 500mm | 38 | m² | 32 | 1216
CLG-02 | MF plasterboard ceiling; 12.5mm moisture resistant board on concealed metal grid; taped and jointed | 15 | m² | 58 | 870
DEC-02 | Emulsion paint; one mist and two full coats; to plasterboard ceilings | 15 | m² | 7 | 105
| Subtotal · 3.3 Ceiling finishes |  |  |  | 0
| Group subtotal · 3 · INTERNAL FINISHES |  |  |  | 0
4 · FITTINGS, FURNISHINGS AND EQUIPMENT
4.1 · Fittings, furnishings and equipment
JOIN-01 | Kitchenette; base and wall units; 2.4m run; laminate worktop; including sink cut-out | 1 | item | 1850 | 1850
SIG-01 | Statutory and wayfinding signage throughout; supply and fix | 1 | item | 950 | 950
| Subtotal · 4.1 Fittings, furnishings and equipment |  |  |  | 0
| Group subtotal · 4 · FITTINGS, FURNISHINGS AND EQUIPMENT |  |  |  | 0
5 · SERVICES
5.1 · Sanitary installations
SAN-01 | WC suite; pan, cistern and seat; including fixing | 1 | nr | 540 | 540
SAN-02 | Wash hand basin; including taps, waste and fixing | 1 | nr | 440 | 440
| Subtotal · 5.1 Sanitary installations |  |  |  | 0
5.2 · Services equipment
CAT-01 | Catering equipment; commercial dishwasher; supply, position and connect | 1 | nr | 2100 | 2100
| Subtotal · 5.2 Services equipment |  |  |  | 0
5.3 · Disposal installations
DRN-01 | Above ground soil and waste installation; uPVC; connected to sanitary appliances | 1 | item | 1650 | 1650
| Subtotal · 5.3 Disposal installations |  |  |  | 0
5.4 · Water installations
WTR-01 | Hot and cold water installation; copper; including insulation and commissioning | 1 | item | 2850 | 2850
| Subtotal · 5.4 Water installations |  |  |  | 0
5.5 · Heat source
HTS-01 | Air source heat pump; 14kW; including external mounting, pipework and commissioning | 1 | nr | 6800 | 6800
| Subtotal · 5.5 Heat source |  |  |  | 0
5.6 · Space heating and air conditioning systems
AC-01 | VRF air conditioning; four indoor cassette units; including controls and commissioning | 1 | item | 16000 | 16000
| Subtotal · 5.6 Space heating and air conditioning systems |  |  |  | 0
5.7 · Ventilation systems
VNT-01 | Heat recovery ventilation unit; including rigid ductwork distribution and grilles | 1 | item | 10000 | 10000
| Subtotal · 5.7 Ventilation systems |  |  |  | 0
5.8 · Electrical installations
EL-01 | Twin switched socket outlet; flush mounted; wired back to distribution board | 14 | nr | 85 | 1190
LT-01 | LED panel luminaire; 600 x 600mm; recessed; including final connection | 12 | nr | 96 | 1152
| Subtotal · 5.8 Electrical installations |  |  |  | 0
5.9 · Fuel installations
GAS-01 | Gas installation; new supply from meter to ground floor tenant catering point; capped for future fit out; including testing and purging | 1 | item | 1450 | 1450
| Subtotal · 5.9 Fuel installations |  |  |  | 0
5.10 · Lift and conveyor installations
LFT-01 | 8 person passenger lift; machine room-less; 2 stops; including guides, controls, testing and commissioning | 1 | nr | 50000 | 50000
| Subtotal · 5.10 Lift and conveyor installations |  |  |  | 0
5.11 · Fire and lightning protection
FIR-01 | Fire alarm installation; category L2 to BS 5839-1; including detectors, sounders and panel | 1 | item | 6300 | 6300
| Subtotal · 5.11 Fire and lightning protection |  |  |  | 0
5.12 · Communication, security and control systems
DAT-01 | Structured cabling; Cat 6A; 48 outlets; including patch panel and testing | 1 | item | 3900 | 3900
| Subtotal · 5.12 Communication, security and control systems |  |  |  | 0
5.13 · Specialist installations
PV-01 | Roof mounted solar PV array; 9.6kWp; including inverter and G99 application | 1 | item | 11200 | 11200
| Subtotal · 5.13 Specialist installations |  |  |  | 0
5.14 · Builder's work in connection with services
BWIC-01 | Builder's work in connection with services; cutting away and making good | 1 | item | 1500 | 1500
| Subtotal · 5.14 Builder's work in connection with services |  |  |  | 0
| Group subtotal · 5 · SERVICES |  |  |  | 0
6 · PREFABRICATED BUILDINGS AND BUILDING UNITS
6.1 · Prefabricated buildings and building units
POD-01 | Prefabricated bathroom pod; factory finished; craned into position and connected | 2 | nr | 8400 | 16800
| Subtotal · 6.1 Prefabricated buildings and building units |  |  |  | 0
| Group subtotal · 6 · PREFABRICATED BUILDINGS AND BUILDING UNITS |  |  |  | 0
7 · WORK TO EXISTING BUILDINGS
7.1 · Minor demolition and alteration works
STO-01 | Strip out existing floor finishes, ceiling tiles and redundant fittings; cart away | 1 | item | 2500 | 2500
| Subtotal · 7.1 Minor demolition and alteration works |  |  |  | 0
7.2 · Repairs to existing services
RES-01 | Overhaul existing incoming water main and stopcock; renew defective sections; provisional | 1 | item | 980 | 980
| Subtotal · 7.2 Repairs to existing services |  |  |  | 0
7.3 · Damp-proof courses/fungus and beetle eradication
DPC-01 | Inject remedial damp proof course to retained walls; 215mm thick solid brickwork; drilled and injected from one side; including making good and insurance backed guarantee | 18 | m | 46 | 828
| Subtotal · 7.3 Damp-proof courses/fungus and beetle eradication |  |  |  | 0
7.4 · Facade retention
FAC-01 | Facade retention structure to front elevation; design, erect, maintain and dismantle | 1 | item | 45000 | 45000
| Subtotal · 7.4 Facade retention |  |  |  | 0
7.5 · Cleaning existing surfaces
CLN-01 | Clean retained brick facade; low pressure steam; including sample panel | 95 | m² | 24 | 2280
| Subtotal · 7.5 Cleaning existing surfaces |  |  |  | 0
7.6 · Renovation works
REN-01 | Renovate existing timber sash windows to front elevation; ease, adjust and redecorate | 6 | nr | 340 | 2040
| Subtotal · 7.6 Renovation works |  |  |  | 0
| Group subtotal · 7 · WORK TO EXISTING BUILDINGS |  |  |  | 0
8 · EXTERNAL WORKS
8.1 · Site preparation works
SPR-01 | Site clearance; remove vegetation and topsoil; 300mm deep; dispose off site | 240 | m² | 7.5 | 1800
| Subtotal · 8.1 Site preparation works |  |  |  | 0
8.2 · Roads, paths, pavings and surfacings
PAV-01 | Permeable block paving to car park and paths; 80mm blocks; permeable laying course and Type 3 sub-base; including edge restraints | 180 | m² | 68 | 12240
| Subtotal · 8.2 Roads, paths, pavings and surfacings |  |  |  | 0
8.3 · Soft landscaping, planting and irrigation systems
LSC-01 | Soft landscaping; topsoil, turf and native hedgerow planting | 160 | m² | 22 | 3520
| Subtotal · 8.3 Soft landscaping, planting and irrigation systems |  |  |  | 0
8.4 · Fencing, railings and walls
FEN-01 | 1.8m high timber close boarded fencing; including posts set in concrete | 42 | m | 74 | 3108
| Subtotal · 8.4 Fencing, railings and walls |  |  |  | 0
8.5 · External fixtures
EXF-01 | External fixtures; 6 nr cycle stands and 2 nr benches; including fixing to paving | 1 | item | 1750 | 1750
| Subtotal · 8.5 External fixtures |  |  |  | 0
8.6 · External drainage
EDR-01 | External foul and surface water drainage; 150mm diameter; average trench depth 1.00m; including excavation, granular bed and surround and 3 nr precast concrete inspection chambers | 65 | m | 118 | 7670
| Subtotal · 8.6 External drainage |  |  |  | 0
8.7 · External services
EXS-01 | External services trenches; ducting for incoming utilities; average 600mm deep; including excavation, backfill and 2 nr draw pits | 38 | m | 52 | 1976
| Subtotal · 8.7 External services |  |  |  | 0
8.8 · Minor building works and ancillary buildings
ANC-01 | Bin store enclosure; approximately 3.0 x 2.0m x 1.8m high; blockwork walls with timber gates; including foundations | 1 | item | 2900 | 2900
| Subtotal · 8.8 Minor building works and ancillary buildings |  |  |  | 0
| Group subtotal · 8 · EXTERNAL WORKS |  |  |  | 0
| GRAND TOTAL |  |  |  | 0

## Zone Summary
Kestrel Sample Project - Zone Summary
Generated by Kestrel · 27/07/2026
Item Code | Description | Quantity | Unit | Rate (£) | Total (£)
FIRST FLOOR
AC-01 | VRF air conditioning; four indoor cassette units; including controls and commissioning | 1 | item | 16000 | 16000
CLG-01 | Suspended ceiling; mineral fibre tiles; 600 x 600mm exposed grid; depth of suspension 150 to 500mm | 38 | m² | 32 | 1216
DEC-01 | Emulsion paint; one mist and two full coats; to new plasterboard walls | 84 | m² | 6.5 | 546
DR-01 | Single leaf doorset; FD30S; 826 x 2040mm leaf; including frame, intumescent and smoke seals, self closer and ironmongery | 2 | nr | 465 | 930
EL-01 | Twin switched socket outlet; flush mounted; wired back to distribution board | 14 | nr | 85 | 1190
FLR-01 | Carpet tiles; heavy contract grade; laid on existing screed | 38 | m² | 24 | 912
LT-01 | LED panel luminaire; 600 x 600mm; recessed; including final connection | 12 | nr | 96 | 1152
PTN-01 | Metal stud partition; 2.70m high; 75mm studs at 600mm centres; one layer 12.5mm plasterboard each side; taped and jointed | 15.5 | m | 130 | 2015
PTN-02 | Metal stud partition; as PTN-01 but with 50mm acoustic insulation quilt | 6.7 | m | 150 | 1005
SIG-01 | Statutory and wayfinding signage throughout; supply and fix | 1 | item | 950 | 950
SKT-01 | Skirting; MDF; 18 x 119mm; primed and painted | 34 | m | 9.5 | 323
UPF-01 | Composite floor slab; profiled galvanised steel decking; 130mm overall thickness concrete; including anti-crack mesh, edge trims and shear studs | 118 | m² | 74 | 8732
VNT-01 | Heat recovery ventilation unit; including rigid ductwork distribution and grilles | 1 | item | 10000 | 10000
| Zone subtotal · First Floor |  |  |  | 0
GROUND FLOOR
BWIC-01 | Builder's work in connection with services; cutting away and making good | 1 | item | 1500 | 1500
CAT-01 | Catering equipment; commercial dishwasher; supply, position and connect | 1 | nr | 2100 | 2100
CLG-02 | MF plasterboard ceiling; 12.5mm moisture resistant board on concealed metal grid; taped and jointed | 15 | m² | 58 | 870
DAT-01 | Structured cabling; Cat 6A; 48 outlets; including patch panel and testing | 1 | item | 3900 | 3900
DEC-02 | Emulsion paint; one mist and two full coats; to plasterboard ceilings | 15 | m² | 7 | 105
DR-02 | Single leaf doorset; non fire rated; 826 x 2040mm leaf; including frame and ironmongery | 2 | nr | 385 | 770
DRN-01 | Above ground soil and waste installation; uPVC; connected to sanitary appliances | 1 | item | 1650 | 1650
EXW-01 | Cavity wall; 102.5mm facing brickwork, pointed as work proceeds; 100mm cavity with full fill mineral wool insulation; 100mm blockwork inner leaf; including stainless steel wall ties | 145 | m² | 142 | 20590
FIR-01 | Fire alarm installation; category L2 to BS 5839-1; including detectors, sounders and panel | 1 | item | 6300 | 6300
FLR-02 | Luxury vinyl tile; slip resistant; including subfloor preparation | 9 | m² | 42 | 378
GAS-01 | Gas installation; new supply from meter to ground floor tenant catering point; capped for future fit out; including testing and purging | 1 | item | 1450 | 1450
GRD-02 | Reinforced concrete raft foundation; 300mm thick; C32/40; including A393 mesh reinforcement, edge formwork and power floated finish | 120 | m² | 140 | 16800
JOIN-01 | Kitchenette; base and wall units; 2.4m run; laminate worktop; including sink cut-out | 1 | item | 1850 | 1850
LFT-01 | 8 person passenger lift; machine room-less; 2 stops; including guides, controls, testing and commissioning | 1 | nr | 50000 | 50000
POD-01 | Prefabricated bathroom pod; factory finished; craned into position and connected | 2 | nr | 8400 | 16800
SAN-01 | WC suite; pan, cistern and seat; including fixing | 1 | nr | 540 | 540
SAN-02 | Wash hand basin; including taps, waste and fixing | 1 | nr | 440 | 440
ST-01 | Precast concrete staircase; ground to first floor; two flights and half landing; including mild steel balustrade and handrail | 1 | nr | 7500 | 7500
STL-01 | Structural steel frame; grade S355; columns and beams; fabricated and erected; including connections and intumescent fire protection to achieve 60 minutes | 12.4 | t | 3200 | 39680
WIN-01 | Aluminium window; double glazed; polyester powder coated; 1200 x 1500mm; including cills and closers | 14 | nr | 1100 | 15400
WT-01 | Ceramic wall tiling; 300 x 600mm; adhesive fixed; including grout and trims | 14 | m² | 68 | 952
WTR-01 | Hot and cold water installation; copper; including insulation and commissioning | 1 | item | 2850 | 2850
| Zone subtotal · Ground Floor |  |  |  | 0
RETAINED BUILDING
CLN-01 | Clean retained brick facade; low pressure steam; including sample panel | 95 | m² | 24 | 2280
DPC-01 | Inject remedial damp proof course to retained walls; 215mm thick solid brickwork; drilled and injected from one side; including making good and insurance backed guarantee | 18 | m | 46 | 828
FAC-01 | Facade retention structure to front elevation; design, erect, maintain and dismantle | 1 | item | 45000 | 45000
HAZ-01 | Remove asbestos insulation board to plant room ceiling; licensed contractor; including air monitoring, four stage clearance and hazardous waste consignment notes | 1 | item | 4000 | 4000
REN-01 | Renovate existing timber sash windows to front elevation; ease, adjust and redecorate | 6 | nr | 340 | 2040
RES-01 | Overhaul existing incoming water main and stopcock; renew defective sections; provisional | 1 | item | 980 | 980
STO-01 | Strip out existing floor finishes, ceiling tiles and redundant fittings; cart away | 1 | item | 2500 | 2500
TWS-01 | Temporary propping to party wall during demolition; design, install and remove on completion | 1 | item | 3200 | 3200
| Zone subtotal · Retained Building |  |  |  | 0
ROOF & PLANT
HTS-01 | Air source heat pump; 14kW; including external mounting, pipework and commissioning | 1 | nr | 6800 | 6800
PV-01 | Roof mounted solar PV array; 9.6kWp; including inverter and G99 application | 1 | item | 11200 | 11200
RF-01 | Single ply membrane roof covering; mechanically fixed; vapour control layer; 120mm PIR insulation laid to falls; including upstands and trims | 126 | m² | 88 | 11088
| Zone subtotal · Roof & Plant |  |  |  | 0
SITE & EXTERNAL
ANC-01 | Bin store enclosure; approximately 3.0 x 2.0m x 1.8m high; blockwork walls with timber gates; including foundations | 1 | item | 2900 | 2900
DEM-01 | Demolish existing single storey rear annexe; approximately 8m x 7m on plan; grub up foundations; cart away | 1 | item | 8500 | 8500
EDR-01 | External foul and surface water drainage; 150mm diameter; average trench depth 1.00m; including excavation, granular bed and surround and 3 nr precast concrete inspection chambers | 65 | m | 118 | 7670
ESI-01 | Trial pits to locate uncharted services; hand dug around live services; maximum depth 1.5m; including reinstatement | 3 | nr | 420 | 1260
EXF-01 | External fixtures; 6 nr cycle stands and 2 nr benches; including fixing to paving | 1 | item | 1750 | 1750
EXS-01 | External services trenches; ducting for incoming utilities; average 600mm deep; including excavation, backfill and 2 nr draw pits | 38 | m | 52 | 1976
FEN-01 | 1.8m high timber close boarded fencing; including posts set in concrete | 42 | m | 74 | 3108
GRD-01 | Excavate to reduce levels; average 450mm deep; dispose off site | 86 | m³ | 38 | 3268
LSC-01 | Soft landscaping; topsoil, turf and native hedgerow planting | 160 | m² | 22 | 3520
PAV-01 | Permeable block paving to car park and paths; 80mm blocks; permeable laying course and Type 3 sub-base; including edge restraints | 180 | m² | 68 | 12240
SGW-01 | Interlocking steel sheet piling to excavation perimeter; driven from existing ground level; maximum length 4.0m; extracted on completion | 96 | m² | 125 | 12000
SPR-01 | Site clearance; remove vegetation and topsoil; 300mm deep; dispose off site | 240 | m² | 7.5 | 1800
TDW-01 | Temporary diversion of existing surface water drain; including reinstatement | 1 | item | 1850 | 1850
| Zone subtotal · Site & External |  |  |  | 0
| GRAND TOTAL |  |  |  | 0